## Sheet1
Reserve Fund Plan for TUSCAWILLA HILLS CITIZEN'S ASSOCIATION Charles Town, West Virginia | [6 empty] | COMPONENT DATA AND ASSET REPLACEMENT SCHEDULE TABLE 1 2008 Through 2027
Component No. | Component | Quantity | Unit of Measurement | Unit Cost | Total Asset Base | Typical Service Life (Yrs) | 1st Cycle Year | Percentage of Replacement | Cost For 1st Cycle | 2nd Cycle Year | Percentage of Replacement | Cost For 2nd Cycle | 3rd Cycle Year | Percentage of Replacement | Cost For 3rd Cycle | Photo (#1, #2) Maintenance Protocol (7.1, 7.2) | DISCUSSION
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
1. ASPHALT COMPONENTS
1.1 | Asphalt Restoration Projects | 94619 | SY | 12.5 | 1182737.5 | 25 | 2014 | 20% | 291734.277 | 2018 | 20% | 335505.9218 | 2022 | 20% | 385845.0394 |  | The asphalt pavement throughout the community appears to range from poor to good condition. The thickness of the pavement could not be visually determined, although it is reported to be originally a 6"aggregate sub-base, with 2" base asphalt and 1" wear course. This quite minimal for pavement serving heavy trash trucks and moving vans. Restoration includes edgemilling, full milling where deflected, and overlay with 1-½" new compacted asphalt. Core sampling should be used to determine the depth and condition of the sub-base and pavement prior to restoration. Costs include re-striping, but not replacement of any inadequate sub-base. A full useful service life is dependent on preventative maintenance being performed as suggested in the Maintenance Protocols section of the report. See the Asphalt Pavement Supplemental Report, Section 8, for additional details. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs. It should be noted that this is only a rough projection of anticipated replacement requirements and that actual experience may be faster or slower than scheduled. Future updates will help refine the depreciation rates.
1.2 | Asphalt Repairs, Phase 1 | 5592 | SY | 12.5 | 69900 | 20 | 2008 | 100% | 69900 | [7 empty] | Mill and Replace: The subject pavement sections appear to be original or older second-cycle overlays and in generally the poorest condition with no apparent maintenance having been performed on the deteriorated areas. No surface ground water seepage was observed. Large areas of alligator cracking, indicative of sub-base damage or insufficient asphalt depth were observed on these streets. The Phase 1 asphalt restoration project includes full-width milling and replacement with 1 1/2" of compacted asphalt on street sections that are deflected. Stop and start lines and driveway intersections will be milled and feathered where full milling is not required. It does not include repair of the sub-base. Costs were provided by U.S. Paving, LLC of Charles Town. See the Asphalt Pavement Supplemental Report, Section 8, for additional details. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
1.3 | Asphalt Repairs, Phase 2 | 4292 | SY | 12.5 | 53650 | 20 | 2009 | 100% | 55558.167 | [7 empty] | Mill and Replace: The subject pavement sections appear to be original or older second-cycle overlays and in generally the fair to poor condition with no apparent maintenance having been performed on the deteriorated areas. No surface ground water seepage was observed. Large areas of alligator cracking, indicative of sub-base damage or insufficient asphalt depth were observed on these streets. The Phase 2 asphalt restoration project includes full-width milling and replacement with 1 1/2" of compacted asphalt on street sections that are deflected. Stop and start lines and driveway intersections will be milled and feathered where full milling is not required. It does not include repair of the sub-base. Costs were provided by U.S. Paving, LLC of Charles Town. See the Asphalt Pavement Supplemental Report, Section 8, for additional details. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
1.4 | Asphalt Repairs, Phase 3 | 4437 | SY | 12.5 | 55462.5 | 20 | 2010 | 100% | 59477.9248 | [7 empty] | Mill and Replace: The subject pavement sections appear to be original or older second-cycle overlays and in generally the best of the deficient pavement with no apparent maintenance having been performed on the deteriorated areas. No surface ground water seepage was observed. Large areas of alligator cracking, indicative of sub-base damage or insufficient asphalt depth were observed on these streets. The Phase 3 asphalt restoration project includes full-width milling and replacement with 1 1/2" of compacted asphalt on street sections that are deflected. Stop and start lines and driveway intersections will be milled and feathered where full milling is not required. It does not include repair of the sub-base. Costs were provided by U.S. Paving, LLC of Charles Town. See the Asphalt Pavement Supplemental Report, Section 8, for additional details. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
2. CONCRETE COMPONENTS
2.1 | Concrete Sidewalks | 48169 | SF | 8.5 | 409436.5 | 5 | 2008 | 1% | 4094.365 | 2013 | 2% | 9752.3093 | 2018 | 2% | 11614.4428 |  | Concrete sidewalks throughout the community are generally 4' or 5' wide. The thickness of the concrete could not be visually determined although the thickened edge at pavements appears to be generally 8". Their condition ranges from good to poor. We observed many newer sections and approximately 687 square feet of deficient concrete. Some sections are settled or heaved causing tripping hazards, some sections are cracked, and some areas have scaled surfaces. We have scheduled replacement of only the sections with extremely scaled surfaces as they appear to pose a hazard at the present. Replacement of additional scaled sections should be addressed with each replacement cycle as they will tend to deteriorate more quickly over time. Cyclic repairs are scheduled as full replacement at one time is not appropriate or anticipated. Concrete repairs are scheduled to coincide with other concrete components to promote cost efficiencies. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
2.2 | Concrete Curbs & Gutters | 6316 | LF | 32 | 202112 | 5 | 2008 | 1% | 2021.12 | 2013 | 1% | 2407.0384 | 2018 | 1% | 2866.6451 |  | The drivelanes and parking bays of the townhome sections are lined with standard-profile, cast-in-place, concrete curbs. The curbs are generally in good condition with only a few minor transverse cracks and a few settled or deteriorated sections observed. As curbs age, cracks, vehicle impact damage, and settlement should be anticipated. Cyclic repairs are scheduled as full replacement at one time is not appropriate or anticipated. Concrete are scheduled to coincide with other concrete components to promote cost efficiencies. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3. SITE FEATURES
3.1 | Entrance Features | 1 | LS | 6500 | 6500 | 25 | 2030 | 100% | 14022.756 | [7 empty] | The entrance features on each side of Tuscawilla Drive at Route 51 consist of a painted polyvinyl chloride (PVC) panel sign approximately 10' by 3' supported on each side by 7' sections of PVC picket fencing. The structures appear to be relatively new and in good condition with no damage or deterioration observed. Other than cleaning and replacement of damaged components, this type of material requires little maintenance throughout its long useful service life. Refer to the cover photo.
3.2 | Central Mail Station Re-Roofing | 245 | SF | 6.75 | 1653.75 | 20 | 2008 | 100% | 1653.75 | 2028 | 100% | 3326.8522 |  |  |  |  | The 3/12 pitched roof has an asphalt shingle covering. We observed a large number of missing shingles indicating that this roof has exceeded its useful service life. Pre-finished aluminum gutters and downspouts are installed at roof terminations. Gutters and downspouts appear to be in generally damaged, poor condition. The re-roofing project is scheduled near-term. Re-roofing projects include replacement of shingles, deteriorated sheathing, and gutters and downspouts. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3.3 | Central Mailboxes | 1 | LS | 30000 | 30000 | 40 | 2015 | 100% | 38314.9739 | 2055 | 100% | 155058.595 |  |  |  |  | Mailboxes are of two different configurations at this station: Built-in and free standing including parcel box modules. All components appear to be in worn but serviceable condition. We have scheduled replacement mid-term and have based the cost on the proposal obtained for the Summit Point station.
3.4 | Summit Point Mail Station Re-Roofing | 515 | SF | 5.75 | 2961.25 | 20 | 2023 | 100% | 5002.0475 | 2043 | 100% | 10062.6292 |  |  |  |  | The 3/12 pitched roof has an asphalt shingle covering. This appears to be a recent re-roofing and we observed no deteriorated shingles or deflection of the roof sheathing. Pre-finished aluminum gutters and downspouts are installed at all roof terminations. Downspouts appear to be properly directed away from building foundations. All components appear to be in good condition. Re-roofing projects include replacement of shingles, deteriorated sheathing, and gutters and downspouts. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3.5 | Summit Point Mailboxes | 1 | LS | 26550 | 26550 | 40 | 2009 | 100% | 27494.3026 | 2049 | 100% | 111267.9326 |  |  |  |  | Mailboxes at this station are of varying configurations including free standing modules, parcel boxes, and at least three different types of built-in modules. Most are in generally poor condition and are scheduled for replacement near-term. We understand that Management has obtained a proposal from Salsbury Industries for $18,000 to replace the boxes as well as one from Kubic Construction for $8,550 to cover the necessary reconstruction. We have based the cost on these proposals. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3.6 | Tot Lot & Outdoor Furniture | 1 | LS | 18500 | 18500 | 15 | 2018 | 100% | 26239.3792 | 2033 | 100% | 44322.7091 |  |  |  |  | One tot lot is located within the community. Equipment consists of wood borders, a metal swing set, wood benches, two spring toys, a galvanized metal climbing arch, and a small wood post play module. All equipment appears to be older and in serviceable condition. Preventive maintenance, as outlined in the Maintenance Protocols section of the report, will improve appearance and extend the useful service lives of tot lot components. Frequent, periodic safety checks of all components should be conducted to prevent personal injury. Replacement costs are based on replacement with U.S. Consumer Product Safety Commission (CPSC)-compliant play modules. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3.7 | Basketball Court Restoration | 296 | SY | 12.5 | 3700 | 20 | 2018 | 100% | 5247.8758 | 2038 | 100% | 10557.1625 |  |  |  |  | A basketball court is located within the community at the recreation area. The court appears to be in fair, but serviceable condition, with one large crack across the center as well as a repair patch. Filling the crack with a rubberized asphaltic material would prevent water from infiltrating beneath the court and may extend the useful service life by preventing freeze/thaw damage. Due to financial considerations, we have scheduled restoration later in the study period coinciding with other paving projects. Refer to the Maintenance Protocols, Section 7 of the report, and to the photographs.
3.8 | Basketball Standards | 2 | EA | 2200 | 4400 | 40 | 2018 | 100% | 6240.7172 | 2058 | 100% | 25255.8398 |  |  |  |  | Painted metal post standards with backboards are constructed at each end of the court. They appear to be in serviceable condition. They are scheduled for replacement coinciding with the court restoration project.
3.9 | Split-Rail Fencing | 2180 | LF | 15 | 32700 | 20 | 2011 | 10% | 3631.4687 | 2014 | 10% | 4032.8944 | 2017 | 10% | 4478.6941 |  | Wood split-rail fences are constructed adjacent to the two entrances as well as at some other perimeter locations and the recreation area. We observed replacement posts and rails at the Summit Point fencing. Although some wood components appear to be deteriorated, most fences generally appear to be sound, with the exception of the fencing at the rear of the recreation area. Several sections of that fence are down, some rails are down, and much of the fencing is extensively covered by vegetation, which is damaging it. Preventative maintenance, as outlined in Maintenance Protocols, will improve appearance and extend the useful service lives. Refer to the photographs.
3.10 | Storm Water Drainage System Allowance | 1 | LS | 7500 | 7500 | 7 | 2013 | 100% | 8932.0712 | 2020 | 100% | 11407.7359 | 2027 | 100% | 14569.57 |  | Storm water drainage is provided by concrete yard drains, curb drop inlets, underground structures, and approximately four storm water management areas created by earthen impoundment structures. All observable components appear to be in good condition. Some pond areas are somewhat overgrown with vegetation, which should be periodically controlled as woody vegetation diminishes capacity over time. Though storm water drainage systems are a long life component and catastrophic failure is not anticipated, it is prudent to plan for localized repairs and repairs to ancillary damage as the system ages. This category may also be used to address localized erosion issues. Refer to the photographs.
2107763.5

## Sheet2
Reserve Fund Plan for TUSCAWILLA HILLS CITIZEN'S ASSOCIATION Charles Town, West Virginia |  |  | CALENDAR OF EXPENDITURES TABLE 2 2008 Through 2027
YEAR | COMPONENT NO. | COMPONENT | PRESENT COST 2008 | FUTURE COST (INFLATED) | TOTAL ANNUAL EXPENDITURES | ACTION
1 | 2 | 3 | 4 | 5 | 6 | 7
2008 |  |  |  |  | 2008
| 1.2 | Asphalt Repairs, Phase 1 | 69900 | 69900 | TOTAL EXPENDITURES
| 2.1 | Concrete Sidewalks | 4094.365 | 4094.365
| 2.2 | Concrete Curbs & Gutters | 2021.12 | 2021.12
| 3.2 | Central Mail Station Re-Roofing | 1653.75 | 1653.75
77669.235
2009 |  |  |  |  | 2009
| 1.3 | Asphalt Repairs, Phase 2 | 53650 | 55558.167 | TOTAL EXPENDITURES
| 3.5 | Summit Point Mailboxes | 26550 | 27494.3026
83052.4696
2010 |  |  |  |  | 2010
| 1.4 | Asphalt Repairs, Phase 3 | 55462.5 | 59477.9248 | TOTAL EXPENDITURES
59477.9248
2011 |  |  |  |  | 2011
| 3.9 | Split-Rail Fencing | 3270 | 3631.4687 | TOTAL EXPENDITURES
3631.4687
2012 |  |  |  |  | 2012
NO EXPENDITURES
2013 |  |  |  |  | 2013
| 2.1 | Concrete Sidewalks | 8188.73 | 9752.3093 | TOTAL EXPENDITURES
| 2.2 | Concrete Curbs & Gutters | 2021.12 | 2407.0384
| 3.10 | Storm Water Drainage System Allowance | 7500 | 8932.0712
21091.4189
2014 |  |  |  |  | 2014
| 1.1 | Asphalt Restoration Projects | 236547.5 | 291734.277 | TOTAL EXPENDITURES
| 3.9 | Split-Rail Fencing | 3270 | 4032.8944
295767.1714
2015 |  |  |  |  | 2015
| 3.3 | Central Mailboxes | 30000 | 38314.9739 | TOTAL EXPENDITURES
38314.9739
2016 |  |  |  |  | 2016
NO EXPENDITURES
2017 |  |  |  |  | 2017
| 3.9 | Split-Rail Fencing | 3270 | 4478.6941 | TOTAL EXPENDITURES
4478.6941
2018 |  |  |  |  | 2018
| 1.1 | Asphalt Restoration Projects | 236547.5 | 335505.9218 | TOTAL EXPENDITURES
| 2.1 | Concrete Sidewalks | 8188.73 | 11614.4428
| 2.2 | Concrete Curbs & Gutters | 2021.12 | 2866.6451
| 3.6 | Tot Lot & Outdoor Furniture | 18500 | 26239.3792
| 3.7 | Basketball Court Restoration | 3700 | 5247.8758
| 3.8 | Basketball Standards | 4400 | 6240.7172
387714.982
2019 |  |  |  |  | 2019
NO EXPENDITURES
2020 |  |  |  |  | 2020
| 3.9 | Split-Rail Fencing | 3270 | 4973.7728 | TOTAL EXPENDITURES
| 3.10 | Storm Water Drainage System Allowance | 7500 | 11407.7359
16381.5087
2021 |  |  |  |  | 2021
NO EXPENDITURES
2022 |  |  |  |  | 2022
| 1.1 | Asphalt Restoration Projects | 236547.5 | 385845.0394 | TOTAL EXPENDITURES
385845.0394
2023 |  |  |  |  | 2023
| 2.1 | Concrete Sidewalks | 12283.095 | 20748.206 | TOTAL EXPENDITURES
| 2.2 | Concrete Curbs & Gutters | 4042.24 | 6828.0208
| 3.4 | Summit Point Mail Station Re-Roofing | 2961.25 | 5002.0475
| 3.9 | Split-Rail Fencing | 3270 | 5523.578
38101.8524
2024 |  |  |  |  | 2024
NO EXPENDITURES
2025 |  |  |  |  | 2025
NO EXPENDITURES
2026 |  |  |  |  | 2026
| 1.1 | Asphalt Restoration Projects | 236547.5 | 443737.0095 | TOTAL EXPENDITURES
| 3.9 | Split-Rail Fencing | 3270 | 6134.1592
449871.1687
2027 |  |  |  |  | 2027
| 3.10 | Storm Water Drainage System Allowance | 7500 | 14569.57 | TOTAL EXPENDITURES
14569.57
1875967.4775

## Sheet3
Reserve Fund Plan for TUSCAWILLA HILLS CITIZEN'S ASSOCIATION Charles Town, West Virginia |  |  | FUNDING ANALYSIS CASH FLOW METHOD TABLE 3
|  | Beginning Reserve Fund Balance: | Annual Contribution To Reserves: |  |  |  | Contribution Percentage Increase: | Annual Inflation Factor: | Annual Interest Income Factor:
|  | 48466 | 57310 |  |  |  | 3.5% | 3.5% | 2%
YEAR | TOTAL ASSET BASE | BEGINNING RESERVE FUND BALANCE | ANNUAL CONTRIBUTION | Bal | Cont | Exp | INTEREST INCOME | CAPITAL EXPENDITURES | ENDING RESERVE FUND BALANCE | BALANCE TO ASSET BASE RATIO
1 | 2 | 3 | 4 | 5 | 6 | 7 | 5 | 6 | 7 | 8
2008 | 2107763.5 | 48466 | 57310 | 1602.9233 | 624.6683 | 0 | 2227.5916 | 77669.235 | 30334.3566 | 1.439%
2009 | 2181535.2225 | 30334.3566 | 75000 | 612.2794 | 817.486 | 0 | 1429.7655 | 83052.4696 | 23711.6525 | 1.087%
2010 | 2257888.9553 | 23711.6525 | 77625 | 478.6044 | 846.098 | 0 | 1324.7025 | 59477.9248 | 43183.4302 | 1.913%
2011 | 2336915.0687 | 43183.4302 | 80341.875 | 871.6297 | 875.7115 | 0 | 1747.3412 | 3631.4687 | 121641.1777 | 5.205%
2012 | 2418707.0961 | 121641.1777 | 83153.8406 | 2455.2488 | 906.3614 | 0 | 3361.6102 | 0 | 208156.6285 | 8.606%
2013 | 2503361.8445 | 208156.6285 | 86064.225 | 4201.5074 | 938.084 | 0 | 5139.5914 | 21091.4189 | 278269.0261 | 11.12%
2014 | 2590979.509 | 278269.0261 | 89076.4729 | 5616.681 | 970.917 | 0 | 6587.598 | 295767.1714 | 78165.9256 | 3.017%
2015 | 2681663.7919 | 78165.9256 | 92194.1495 | 1577.7288 | 1004.8991 | 0 | 2582.6279 | 38314.9739 | 134627.7291 | 5.02%
2016 | 2775522.0246 | 134627.7291 | 95420.9447 | 2717.374 | 1040.0705 | 0 | 3757.4445 | 0 | 233806.1183 | 8.424%
2017 | 2872665.2954 | 233806.1183 | 98760.6778 | 4719.2259 | 1076.473 | 0 | 5795.6988 | 4478.6941 | 333883.8009 | 11.62%
2018 | 2973208.5808 | 333883.8009 | 102217.3015 | 6739.2294 | 1114.1495 | 0 | 7853.3789 | 387714.982 | 56239.4993 | 1.892%
2019 | 3077270.8811 | 56239.4993 | 105794.907 | 1135.1581 | 1153.1448 | 0 | 2288.3028 | 0 | 164322.7092 | 5.34%
2020 | 3184975.3619 | 164322.7092 | 109497.7288 | 3316.748 | 1193.5048 | 0 | 4510.2529 | 16381.5087 | 261949.1821 | 8.225%
2021 | 3296449.4996 | 261949.1821 | 113330.1493 | 5287.2755 | 1235.2775 | 0 | 6522.553 | 0 | 381801.8844 | 11.58%
2022 | 3411825.2321 | 381801.8844 | 117296.7045 | 7706.425 | 1278.5122 | 0 | 8984.9373 | 385845.0394 | 122238.4868 | 3.583%
2023 | 3531239.1152 | 122238.4868 | 121402.0892 | 2467.3051 | 1323.2602 | 0 | 3790.5653 | 38101.8524 | 209329.2888 | 5.928%
2024 | 3654832.4843 | 209329.2888 | 125651.1623 | 4225.1768 | 1369.5743 | 0 | 5594.7511 | 0 | 340575.2022 | 9.318%
2025 | 3782751.6212 | 340575.2022 | 130048.953 | 6874.291 | 1417.5094 | 0 | 8291.8004 | 0 | 478915.9555 | 12.66%
2026 | 3915147.928 | 478915.9555 | 134600.6663 | 9666.61 | 1467.1222 | 0 | 11133.7322 | 449871.1687 | 174779.1854 | 4.464%
2027 | 4052178.1054 | 174779.1854 | 139311.6897 | 3527.8052 | 1518.4715 | 0 | 5046.2767 | 14569.57 | 304567.5817 | 7.516%
STUDY PERIOD TOTALS |  |  | 2034098.5372 |  |  |  | 97970.522 | 1875967.4775

## Sheet4
Reserve Fund Plan for TUSCAWILLA HILLS CITIZEN'S ASSOCIATION Charles Town, West Virginia | [6 empty] | FUNDING ANALYSIS COMPONENT METHOD TABLE 4
Beginning Reserve Fund Balance:
48466
Component Number | COMPONENT | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
1.1 | Asphalt Restoration Projects | 38797.0339 | 38797.0339 | 38797.0339 | 38797.0339 | 38797.0339 | 38797.0339 | 38797.0339 | 80501.8213 | 80501.8213 | 80501.8213 | 80501.8213 | 92580.2688 | 92580.2688 | 92580.2688 | 92580.2688 | 106470.9596 | 106470.9596 | 106470.9596 | 106470.9596 | 122445.8018
1.2 | Asphalt Repairs, Phase 1 | 55530.6309 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.3 | Asphalt Repairs, Phase 2 | 22013.1606 | 22013.1606 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.4 | Asphalt Repairs, Phase 3 | 15676.2595 | 15676.2595 | 15676.2595 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 | Concrete Sidewalks | 4050.2184 | 1853.099 | 1853.099 | 1853.099 | 1853.099 | 1853.099 | 2206.9349 | 2206.9349 | 2206.9349 | 2206.9349 | 2206.9349 | 3942.5 | 3942.5 | 3942.5 | 3942.5 | 3942.5 | 4695.2921 | 4695.2921 | 4695.2921 | 4695.2921
2.2 | Concrete Curbs & Gutters | 1999.3277 | 457.3768 | 457.3768 | 457.3768 | 457.3768 | 457.3768 | 544.7097 | 544.7097 | 544.7097 | 544.7097 | 544.7097 | 1297.4361 | 1297.4361 | 1297.4361 | 1297.4361 | 1297.4361 | 1545.1722 | 1545.1722 | 1545.1722 | 1545.1722
3.1 | Entrance Features | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901 | 463.1901
3.2 | Central Mail Station Re-Roofing | 1313.788 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975 | 135.1975
3.3 | Central Mailboxes | 3751.1283 | 3751.1283 | 3751.1283 | 3751.1283 | 3751.1283 | 3751.1283 | 3751.1283 | 3751.1283 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988 | 2529.2988
3.4 | Summit Point Mail Station Re-Roofing | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 247.4763 | 408.9278 | 408.9278 | 408.9278 | 408.9278
3.5 | Summit Point Mailboxes | 11346.173 | 11346.173 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903 | 1814.9903
3.6 | Tot Lot & Outdoor Furniture | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 1950.9562 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717 | 2531.9717
3.7 | Basketball Court Restoration | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 374.9642 | 429.0248 | 429.0248 | 429.0248 | 429.0248 | 429.0248 | 429.0248 | 429.0248 | 429.0248 | 429.0248
3.8 | Basketball Standards | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 433.4609 | 411.9705 | 411.9705 | 411.9705 | 411.9705 | 411.9705 | 411.9705 | 411.9705 | 411.9705 | 411.9705
3.9 | Split-Rail Fencing | 871.3403 | 871.3403 | 871.3403 | 871.3403 | 1303.3199 | 1303.3199 | 1303.3199 | 1447.39 | 1447.39 | 1447.39 | 1607.3857 | 1607.3857 | 1607.3857 | 1785.0676 | 1785.0676 | 1785.0676 | 1982.3905 | 1982.3905 | 1982.3905 | 2201.5257
3.10 | Storm Water Drainage System Allowance | 1300.3519 | 1300.3519 | 1300.3519 | 1300.3519 | 1300.3519 | 1300.3519 | 1517.0871 | 1517.0871 | 1517.0871 | 1517.0871 | 1517.0871 | 1517.0871 | 1517.0871 | 1937.5718 | 1937.5718 | 1937.5718 | 1937.5718 | 1937.5718 | 1937.5718 | 1937.5718
ANNUAL COMPONENT CONTRIBUTION TOTALS |  | 160119.4604 | 99671.1688 | 68126.8255 | 52450.566 | 52882.5455 | 52882.5455 | 53540.4495 | 95389.307 | 94167.4775 | 94167.4775 | 94327.4732 | 109507.7978 | 109507.7978 | 110105.9643 | 110105.9643 | 123996.6551 | 125355.9578 | 125355.9578 | 125355.9578 | 141549.9352
COMPONENT METHOD SUMMARY |  | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027
BEGINNING RESERVE FUND BALANCE |  | 48466 | 133639.7527 | 154042.2813 | 166542.9959 | 219295.3577 | 277180.6486 | 315142.8979 | 79860.7132 | 139586.709 | 237598.0623 | 333109.0174 | 47473.2514 | 159132.8809 | 256664.7793 | 373151.4913 | 106144.3731 | 195533.172 | 326202.1975 | 459508.693 | 145634.7256
PLUS ANNUAL COMPONENT CONTRIBUTION |  | 160119.4604 | 99671.1688 | 68126.8255 | 52450.566 | 52882.5455 | 52882.5455 | 53540.4495 | 95389.307 | 94167.4775 | 94167.4775 | 94327.4732 | 109507.7978 | 109507.7978 | 110105.9643 | 110105.9643 | 123996.6551 | 125355.9578 | 125355.9578 | 125355.9578 | 141549.9352
CAPITAL EXPENDITURES |  | 77669.235 | 83052.4696 | 59477.9248 | 3631.4687 | 0 | 21091.4189 | 295767.1714 | 38314.9739 | 0 | 4478.6941 | 387714.982 | 0 | 16381.5087 | 0 | 385845.0394 | 38101.8524 | 0 | 0 | 449871.1687 | 14569.57
SUBTOTAL |  | 130916.2254 | 150258.4518 | 162691.182 | 215362.0932 | 272177.9032 | 308971.7752 | 72916.176 | 136935.0463 | 233754.1865 | 327286.8457 | 39721.5087 | 156981.0493 | 252259.17 | 366770.7436 | 97412.4162 | 192039.1758 | 320889.1298 | 451558.1553 | 134993.4821 | 272615.0907
Balance Interest |  | 978.255 | 2697.4323 | 3109.2442 | 3361.5631 | 4426.3355 | 5594.7128 | 6360.9563 | 1611.937 | 2817.4678 | 4795.7638 | 6723.5909 | 958.217 | 3211.9947 | 5180.6132 | 7531.8224 | 2142.4558 | 3946.7111 | 6584.1812 | 9274.8869 | 2939.5431
Contribution Interest |  | 1745.2723 | 1086.3972 | 742.5697 | 571.7014 | 576.4099 | 576.4099 | 583.5809 | 1039.7257 | 1026.408 | 1026.408 | 1028.1519 | 1193.6146 | 1193.6146 | 1200.1345 | 1200.1345 | 1351.5404 | 1366.3566 | 1366.3566 | 1366.3566 | 1542.8679
Expenditure Interest |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PLUS INTEREST INCOME @ 2.00% |  | 2723.5273 | 3783.8295 | 3851.8139 | 3933.2645 | 5002.7454 | 6171.1227 | 6944.5373 | 2651.6627 | 3843.8757 | 5822.1718 | 7751.7428 | 2151.8316 | 4405.6093 | 6380.7477 | 8731.9569 | 3493.9962 | 5313.0677 | 7950.5378 | 10641.2435 | 4482.411
ENDING RESERVE FUND BALANCE |  | 133639.7527 | 154042.2813 | 166542.9959 | 219295.3577 | 277180.6486 | 315142.8979 | 79860.7132 | 139586.709 | 237598.0623 | 333109.0174 | 47473.2514 | 159132.8809 | 256664.7793 | 373151.4913 | 106144.3731 | 195533.172 | 326202.1975 | 459508.693 | 145634.7256 | 277097.5018
[6 empty] | STUDY PERIOD TOTAL CONTRIBUTIONS |  |  | 1998567.2842 |  | STUDY PERIOD INTEREST TOTAL |  | 106031.6951 |  | AVERAGE ANNUAL CONTRIBUTION |  | 99928.3642 |  | TOTAL EXPENDITURES |  | 1875967.4775

## Chart4
| 48466 | 57310 | 0 | 0.035 | 0.02
2008 |  |  |  |  | 77669.235
2009 |  |  |  |  | 83052.4696
2010 |  |  |  |  | 59477.9248
2011 |  |  |  |  | 3631.4687
2012 |  |  |  |  | 0
2013 |  |  |  |  | 21091.4189
2014 |  |  |  |  | 295767.1714
2015 |  |  |  |  | 38314.9739
2016 |  |  |  |  | 0
2017 |  |  |  |  | 4478.6941
2018 |  |  |  |  | 387714.982
2019 |  |  |  |  | 0
2020 |  |  |  |  | 16381.5087
2021 |  |  |  |  | 0
2022 |  |  |  |  | 385845.0394
2023 |  |  |  |  | 38101.8524
2024 |  |  |  |  | 0
2025 |  |  |  |  | 0
2026 |  |  |  |  | 449871.1687
2027 |  |  |  |  | 14569.57
|  | 0 | 0 | 0 | 1875967.4775

## DividerPhotos
PHOTOGRAPHS WITH DESCRIPTIVE NARRATIVES